Objectives:

Using the Gas Laws 1 aplet, the student will investigate the relationship between pressure and volume in gases.

Equipment:

| * PLDL100 Data Logger * Vernier Standard Pressure sensor * 40 ml Gas syringe | * HP38G with the Gas Laws 1 aplet. * Cable connecting sensor to PLDL100 * Cable connecting PLDL100 to HP38G |
| --- | --- |

Functionality:

| This aplet is based on the PLDL100 aplet which is supplied with the PLDL100 Data Logger. When the student presses START , they will see the message on the right only if there is any data currently in C1 of the NUMeric view. If they choose to Clear data then all five columns which are used by the PLDL100 aplet will be cleared. The next view encountered is the NOTE view, where a brief explanation of the aplet is given. This note includes an equipment list. The aplet has been preset to for a Pressure (atm) probe to be connected to PORT 2 on the PLDL100 Data Logger. The reason for choosing PORT 2 rather than PORT 1 is to allow the user to enter the Volume readings recorded from the syringe into column C1. This in turn allows easy graphing with Volume (C1) on the horiz. axis and Pressure (C2) on the vertical axis. The VIEWS menu is shown right. The options are as follows: * Collect data This option is used to read the data from the pressure sensor to the PLDL100 Data Logger and then from the Data Logger to the HP38G. * Plot data This option uses the Autoscale option built into the PLDL100 aplet to plot the data. * Start This option restarts the aplet. When the user chooses the Collect data option, they will see the screen on the right. As shown in the screen shot, the first step is to press the screen button labeled START. Assuming that all the connections are correct from the HP38G to the PLDL100 and to the Vernier probe, and that the Data Logger is switched on, the user will see the screen on the right. This number will be continuously changing as the Data Logger monitors the Port and provides continuous feedback. If a ‘Timeout’ message appears it means that the connection has failed somewhere along the line. The instructions provided for the student tell them to position the plunger of the syringe at various different positions (recording the positions) and, for each one, to press the SAVE button. This records the current pressure reading from Port 2 and stores it in column C2. Shown right are the results of 3 SAVE’s. As mentioned in the instructions, the monitoring & recording process is terminated by pressing the PAUSE button (which takes the place of the START button). Once the data is collected, the volume readings need to be manually entered in C1 next to the corresponding pressure value. The points can then be plotted using the second option in the VIEWS menu. Important Notes: 1. There is usually a small amount of air in the line leading from the syringe to the sensor. Adding 2ml to each of the volume readings, giving 37ml, 32ml, 27ml.... instead of 35ml, 30ml... will often produce a dramatic improvement in the curve fit. For this reason the Student Worksheet advises this tactic in its instructions. 2. The aplet comes preset to the standard supplied calibration of Pressure (atm). This will give quite good results. If desired, a custom calibration can be done. The instructions for this are given in the file CALIBRAT.DOC which accompanies this file. The aim of the aplet is to show that P1V1 = P2V2. The easiest way to show this is to demonstrate that PxV=const. This can be shown numerically by changing the HOME view, creating C3 as C1 multiplied by C2 and showing that C3 is close to a constant. If the teacher chooses, this could be the end of the analysis done. However, an alternative to this (used in the Student Instructions) is to plot C1 vs. C2 and then try to fit various curves to the results. The SYMB view has been pre-prepared to plot C1 vs. C2 three times (over printing the points) with a different curve fit chosen each time. The idea of this is to allow the student to see the different possible fits. The first fit is a Power fit (axb), the second is Exponential (a.ebx) and the third is Linear (ax+b). The curves of best fit for these three different possible fits are shown right. Pressing DEFN will show the equations, although the student will need to change to the SYMB view, position the highlight on the relevant curve and press SHOW in order to see the equation in full (see right). The teacher will need to bear in mind that the rule is quoted as Y=38.5X-1.007 . The student may require help to realize that this is equivalent to Y=k.X-1 and hence that X.Y=const. |  |
| --- | --- |

Final Notes

The type of valve on the gas syringe may vary and hence the instructions to students may need amending slightly.

Additional Exploration:

This aplet leads naturally into an exploration of the other relationship pairs between pressure and temperature, and between volume and temperature.

Ideas can be applied to:

Physics

Programs associated with this aplet:

.GAS1.S, . GAS1.COL,  . GAS1.SC,  . GAS1.PL

Setting Up

Pressure relief valve.

Check that you have the following equipment:

- PLDL100 Data Logger.

HP38G Graphical Calculator.

- A copy of the GAS LAWS 1 aplet.

- Vernier Pressure Probe, with Gas syringe.

- Cable from Data Logger to probe.

- Cable from Data Logger to HP38G.

- Connect the cable from the probe to Port 2 of the Data Logger  (use only Port 2).

- Connect the cable from the HP38G calculator to the socket on the Data Logger.  The cable plugs into the ‘Serial I/O’ socket on the opposite side to the On/Off switch.

- If you have an AC Adaptor for the PLDL100, plug it in next to the On/Off switch.  This saves the batteries.  Turn the PLDL100 Data Logger on.

Fully open the relief valve on the syringe (see diagram above), move the plunger out to 30ml (35ml if available) on the scale and close the valve tightly.

Collecting Data

- Run the   GAS LAWS 1  aplet, read the notes if you wish and then open the  VIEWS menu and choose the ‘Collect data’ option.

You should now be looking at the Data Monitoring screen.  Press the  START  button.  When the numbers appearing on  ‘Port 2’ seem reasonably stable, press the  SAVE  button to save the pressure reading for whatever volume you set the syringe to when you set up.  Consult your teacher if the message “Timeout” appears.

- Without releasing the pressure valve, push the plunger to a position 5ml further in and hold it there (eg. from 35ml to 30ml).  If you have a partner then it is easiest for them to hold the syringe while you take care of acquiring data.  When your partner indicates that the plunger is positioned correctly, then press the  SAVE  button to save the pressure reading for that volume.

- Repeat this process for volumes decreasing in 5ml increments.  You may be able to get a reading for 5ml but the gas syringe tends to leak and invalidate the reading.

- Press the  PAUSE  button (which replaced the START button on the screen) to stop recording.  Turn off the PLDL100 Data Logger.

Change to the  NUM  view.  Your saved values should be in column 2 (C2). Record the volumes corresponding to each saved pressure value into column 1 (C1) but add 2ml to each reading.  The reason for doing this is to allow for the extra volume in the plastic hose leading from the syringe to the sensor.  Your  NUM  view should now look similar to the one shown above.

Analysing the Data

- Press  VIEWS  and choose the  Plot data option.  You should see a graph similar to the one shown on the right (if not, consult your teacher).

It should be fairly clear that the data is following some kind of rule.  Your job is to choose the correct relationship between pressure and volume. To help you do this, the aplet has been preset to attempt to fit three different types of curves to the data.

- They are:	(i)   Power        	(y=a.xb)

- (ii)  Exponential	(y=a.ebx)

- &	(iii) Linear		(y=a + bx)

- If you now press the   FIT  button (while in  PLOT view) then the calculator will try to fit curves of each of these three types to the data. Discuss with your partner which of these curves seems to best fit the known data.

If you now change back to the  SYMB  view you will find that the equations for each of the three curves have been entered into  Fit1…Fit3.  To view any of these, move the highlight to the equation and press the  SHOW  button. The one shown above is the Exponential fit, showing  f(x)=4.9108 e-0.0446x.

- Use the PLOT screen to help you judge which curve is closest to the correct one.  When you have made a decision, discuss your choice with your teacher.