Therm v1.0

===========

Hardware interfacing application by Arnold Moy (c)1998.

CONTENTS

========

1. Introduction

1.1 Copyright and Disclaimer

1.2 The Therm Library

1.2.1 Features

2. Installing and Removing the Therm Library

2.1 Installing the Library

2.2 Bytes and Checksum

2.3 Removing the Library

3. Usage

3.1 Commands

SHWT

TEMP

DTMP

4. Technical

4. History

5. Resources and References

1. Introduction

---------------

1.1 Copyright and Disclaimer

----------------------------

All files in the Therm package are copyrighted(c) by Arnold Moy

unless otherwise noted.

The software contained in this package is provided as free of charge

and therefore contains no warranty of any kind.  Should the Software

prove defective, you and not the author assume the entire cost of any

service and repair.  This disclaimer of warranty constitutes an

essential part of the agreement.

1.2 The Therm Library

--------------------

The Therm library works in conjunction with Parallax's Basic Stamp

and the Dallas DS1620 temperature measuring chip.  The Therm library

reads the temperature data outputted from the Basic stamp and

either displays the temperature, returns the temperature to the stack

or time stamps each measurement for logging purposes.

1.2.1 Features

--------------

o display temperature readings

o return temperature to the stack

o time stamp temperature readings

2. Installing and Removing the Therm Library

---------------------------------------------

The Therm library requires at least 1k to install.

2.1 Installing

--------------

a) send the library to the HP48

b) put a copy of the library on the stack

c) enter the port number to store the library (0-33 GX, 0-2 SX)

d) here is an example of the stack setup so far:

--------------------------

4:

3:

2:   Library 1070: The...

1:                      0

|   |   |   |   |   |   |

e) at this point, press [STO]

f) perform a warmstart with [ON][C] or turn on and off the HP48

g) erase the variable containing the library.  eg. 'THERM10.LIB' PURGE

2.2 Bytes and Checksum

----------------------

Placing the library on the stack and executing the BYTES command:

Bytes: 829

Checksum: # 4CBDh

2.3 Removing the Library

------------------------

a) :0: 1070 DETACH

b) :0: 1070 PURGE

Depending on which port number the Therm library was stored, :0: in the

above can be replaced by the appropriate port number.

3. Usage

--------

3.1 Commands

------------

SHWT - display temperature in degree Celsius as they are being

read-in

TEMP - return temperature in degree Celsius to the stack

DTMP - return temperature in degree Celsius with a Julian day time

stamp to the stack in the form of an array

4. Technical

------------

The data outputted from the Basic Stamp is in the following form:

"S 2E A0 1F"

1 2  3  4

1 - start marker

2 - temperature read

3 - count remaining

4 - counts per degree Celsius

The precise temperature can be calculated with the formula:

temp = temp_read - 1/2LSB + (counts_per_degree_C - count_remain)

------------------------------------

counts_per_degree_C

Where:

1/2LSB = .25

5. History

----------

Changes 1.0 to 1.0

- first release

6. Resources and References

---------------------------

HPTools - PC based System RPL and Assembly Language compiler

ftp://hpcvbbs.external.hp.com/dist/

Jazz - HP48 based System RPL and Assembly Language development tools

http://www.hut.fi/~mheiskan/

Arnold Moy - amoy@geog.ubc.ca